|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Disinfectant** | **Type** | **Type** | **Kill time** | **SDS** | **Comments** |
| **Virex 256** | Quaternary ammonium | Low Level | 10 minutes | http://www.safety.vanderbilt.edu/msds/products/virexii256.pdf | Not on EPA list for Ebola |
| **Super Sani Wipes** | Alcohol Quaternary ammonium | Low level | 2 minutes | http://www.medline.com/media/catalog/Docs/MSDS/MSD\_SDSD10790.pdf | Bactericidal, Tuberculocidal, Virucidal |
| **Gray Sani Wipes AF3** | Alcohol free quat | Low level | 3 minutes | http://www.medline.com/media/catalog/Docs/MSDS/MSD\_SDSD12334.pdf | Computers |
| **Teal Sani Wipes HB** | Alcohol free HB | Low level | 10 minutes | http://www.medline.com/media/catalog/Docs/MSDS/MSD\_SDSD10794.pdf | Probes (manufacturer recommendation) |
| **70% isopropyl alcohol** | Alcohol | Low level | < 1 minute | http://www.safety.vanderbilt.edu/msds/products/ipa70percent.pdf | Pharmacy only |
| **Oxivir TB** | Peroxide | Low level | 1/5/10 minutes bacteria/ virus/TB | http://www.medline.com/media/catalog/Docs/MSDS/MSD\_SDSD10375.pdf | Dayani & Ortho Rehab |
| **Bleach** | Chlorine | Intermediate | 5 minutes C. diff spores | http://www.safety.vanderbilt.edu/msds/products/cloroxregularbleach.pdf | Dilute before use |
| **Clorox Wipes** | Chlorine | Intermediate level | 3 minutes C. diff | https://www.thecloroxcompany.com/downloads/msds/cloroxhealthcarecloroxhealthcarecloroxhealthcare/cloroxhealthcarebleachgermicidalwipesjw.pdf | Glucose meters only |
| **Orange Sani Wipes** | Chlorine | Intermediate level | 4 minutes | http://www.safety.vanderbilt.edu/msds/products/sani-clothbleachwipes.pdf | Dialysis – extra large wipes |
| **Asepti Steryl (RTU)** | Phenolic | Intermediate level | No info | https://safetydata.ecolab.com/svc/GetPdf/ASEPTI\_STERYL\_DISINFECTANT\_English?sid=926303&cntry=US&langid=en-US&langtype=RFC1766LangCode&locale=en&pdfname=ASEPTI\_STERYL\_DISINFECTANT\_English.pdf |  |
| **Expose II 256** | Phenolic | Intermediate level | No info | https://sds.sealedair.com/private/document.aspx?prd=MS0800524~~PDF~~MTR~~ANGH~~EN~~ | OR only |
| **Virex TB (RTU)** | Quaternary ammonium | Intermediate level | 3 minutes | https://www.medline.com/media/catalog/Docs/MSDS/MSD\_SDSD10342.pdf | Used in OR |
| **Cidex OPA** | Ortho-phthalaldhyde | High level | 12 minutes | http://www.safety.vanderbilt.edu/msds/products/cidexopasolution.pdf | Fume hood or neg press. |
| **Rapicide** | Glutar-aldehyde | High level | 5 minute cycle | http://www.medivators.com/sites/default/files/minntech/documents/msds/50095-099%20Rev%20A.pdf | AERs only |
| **S40 sterilant** | Peracetic acid | High level | 23 minute cycle | http://webapi.steris.com/api/salesconnection/getdocumentbynumber?id=4000&fileName=10291328201220\_1.pdf | AERs only: **Steris Sytem 1E** |
| **Trophon Sonex-HL** | 35% H2O2 | High level | 7 minute cycle | Not available online | Probes only |
| **Revital-Ox** | 2% Accelerated H2O2 | High level | 8 minute at 68 f | http://webapi.steris.com/api/salesconnection/getdocumentbynumber?id=4455&fileName=REVITAL-OX RESERT HIGH LEVEL DISINFECTANT.pdf |  |
| **TD-5 disinfectant** | Gluter-  aldehyde | High level | 5 minute cycle | http://www.csmedicalllc.com/downloads/td5-sds.pdf | TEE probe AER only: **TD 100** |