Telemetry Server Downtime – 6.12/SP

How to tell if Telemetry is in downtime:

* Can the monitor tech see a wave form on the Phillips Monitor?
1. No= Downtime, notify Clinical Engineering on call.
2. Yes= But strip not exporting to StarPanel-notify StarPanel on call

If the Telemetry Server goes down Central Monitoring should go into **Local Mode**

* To print rhythm strips in local mode:
1. Click in patient’s box
2. Click Save
3. Click Alarm review
4. Print
* Before rebooting Telepics:
1. Discharge patients from Telepic
2. Admit to CFRC
* After rebooting Telepics confirm A/D/T is available and working

Key Terms

CFRC-Recovery server, this monitor is in POD E

Client- Type of monitor, the unit has control over what the monitor does i.e. HR limits. The **hardwired** telemetry units on PODs C & E are clients.

Telepic- Monitor Tech has control over what the monitor does. The **radio frequency** (box)telemetry units on PODs B &D are Telepic.

Local Mode- Phillips System is not connected to the server. No data is saved, unable to export cardiac strips to StarPanel.

POD B – 7N, 6N, - phone # 936-5945

POD C- 7RW, 9N, L&D- phone # 936-5957

POD D – 6S, 8S, 8N, COB, STU- phone # 936-5961

POD E – 5S, TOB, 7T3, 10S- phone # 936-5712

|  |  |  |
| --- | --- | --- |
|  **Central Monitoring Units** |  |  |
| **Unit/# of patients monitored** | **Monitoring Type** | **Monitor on Unit** | **Portable Monitors**  | **Manager** | **Phone #** |
| 5 South-22 | hardwire | yes | 2 transport monitors | Janice Gabbard | 473-4261 |
| 6 South-14 | Hybrid-telemetry box with bedside monitors | yes | 2 X2, 1 transport monitor | Janice Gabbard  | 473-4261 |
| 6 North-10 | telemetry | yes | none | Kay Stobaugh | 343-7548 |
| 7 North-36 | telemetry | yes | 16 portable | Mike Jorden  | 400-1064 |
| 8 South-17 | telemetry | yes | 2 portable | Kim Linville | 322-0946 |
| 8 North-10 | telemetry | yes | 2 portable | Kim Linville | 322-0946 |
| 9 North-27 | hardwire | yes | 27 X2 | Richard Corcoran | 322-0918 |
| 7 RW-10 | telemetry | yes | 2 portable | Jane Patey | 343-5312 |
| COBs-6 | hardwire | yes | none | Dana Wilson | 322-8709  |
| TOBs-7 | hardwire | yes | none | Janice Sisco | 343-1738 |
| L&D-2 | hardwire | no | 2 portable | Sandy Smith,  | 322-4203 |
| STU-6 | telemetry | no | none | Betty Sue Minton | 343-6058 |
| 7T3  | 10 tele/6 hardwire  |  yes |   | Robert Barnett  |   |
| Emergency Management |   |   | 36 portable | Pam Hoffner | 322-0242 |
|   |   |   |   |   |   |
| Total Hardwire beds 64  |   |   | Total port. monitor 36 |   |   |
| Total Telemetry beds 111  |   |   | Total X2 monitors 29 |   |   |
| Total Central Monitor. Beds 175 |   |   | Total monitors 52 |   |   |
|  |  |  |  |  |  |