- What is the suggested infusion rate for blood products?

| Suggested Infusion Rate of Blood Components in Nonemergency situations |
| --- |
|  | Suggested Infusion Rate |
| Component | Adult | Pediatric |
| Red Blood Cells | 150-300 mL/hour | 2-5 mL/kg/hour |
| Fresh Frozen Plasma | 200-300 mL/hour | 60-120 mL/hour |
| Platelets | 200-300 mL/hour | 60-120 mL/hour |
| Cryoprecipitate | As rapidly as tolerated | As rapidly as tolerated |
| Granulocytes | 75-100 mL/hour | 65-100 mL/hour |
| Transfusion should be completed within 4 hours of spiking the unit |

Available at http://www.mc.vanderbilt.edu/root/vumc.php?site=vmcpathology&doc=39140

- Product Expiration:

  - What if the blood product expires on the date it is issued? Units outdate at 23:59 (unless otherwise noted).  Any transfusion started prior to the outdate can be transfused to completion as long as it occurs within 4 hours of spike, even if it extends beyond the outdate listed on the product.

- Tubing/Filters/Needles:

  - What is the maximal number of units that can be transfused prior to changing the transfusion tubing/line set?  There is no maximum number of units; tubing sets should be changed every 4 hours.

  - What type of tubing should be used for transfusion of blood products (RBC, Platelet, FFP, and Cryo)?  Standard blood transfusion tubing sets can be used.  These will include an in-line microaggregate filter (170-260 micron filter).

  - What size needle can be used for transfusion of blood products? Needle size depends on the size and integrity of the vein. Standard 18-gauge up to 22-gauge ultra thin needles and catheters are used for transfusion.  24-guage used for infants. Do not apply excess pressure.

- Platelets:

  - Can platelets be transfused in a level 1 rapid infuser?  No, The Belmont is NOT FDA approved for platelet transfusion.

  - Can platelets be transfused via a pump?  Yes, platelets can be transfused via a pump or by gravity.

  - How soon after platelet transfusion can the platelet count be done?  Platelet counts can be performed 15-60 minutes following transfusion.

- Patient Education/Informed Consent:

  - Where can I find more information for patient/family explanation on blood product/transfusions?  Krame’s information portals, which are available on any clinical workstation.

  - How long is the consent form good for?  An inpatient consent form is good for the duration of the inpatient stay.  An outpatient consent form is good for 365 days.

- Pre-medication:

How soon before transfusion do we premedicate?  Although there is no evidence to support universal pre-transfusion premedication to prevent allergic and FNHTRs, if the medication is to be used, oral medication should be given 30-60 minutes prior and IV 5-10 minutes prior.

- Adding Fluids to Blood Products:

  - Are there any compatible IV fluids that can be administered in the same line with a blood product?  0.9% saline can be administered concurrently with a blood product in the same line.  PLASMA-LYTE  A Injection pH 7.4 (Multiple Electrolytes Injection, Type 1, USP) can be administered before or after  the transfusion  using the same administration set,  or added  or infused concurrently with blood components.